Epoxy Resin  (KEMRESIN)

Work Top material selections are among the most critical of the laboratory furniture decisions. Surfaces must be able to withstand a variety of reagents and caustic substances. Kewaunee Kemresin Work Tops and sinks not only satisfy stringent laboratory requirements, and SEFA 3 performance standards

Physical Properties:

Excellent resistance to practically all acids, alkalies and solvents. Highly resistant to heat and normal physical abuse

Appearance: Ultra-smooth non-porous surface

Composition: 1” & 3/4" thick molded epoxy resin

Available Colors: Black, Grey, Slate, Putty

Compliance: SEFA 3 – 2010 Laboratory Work surfaces