GS-tested safety storage cabinets for the storage of pressurised gas cylinders in working areas according to EN 14470-2 and TRGS 510.

Maximum fire resistance: G-ULTIMATE-90 cabinets offer maximum safety when storing gas cylinders – 90 minutes fire resistance (Type G90). G-CLASSIC-30 gas cylinder cabinets convince due to proven technology and have a fire resistance of 30 minutes (Type G30).

Unique on the market: Gas cylinder cabinet with a 60 cm width for the storage of two 50 litre steel gas cylinders or two 40 litre aluminium gas cylinders with a diameter of 230 mm.